## Slide 1: Discrete-Time IDA Passivity-Based Control of Coupled Tank Processes Subject to Actuator Saturation
Nicholas Kottenstette, Joseph Porter,
Gabor Karsai, and Janos Sztipanovits
ISIS, Vanderbilt University
08/11/2010

## Slide 2: Outline
What is IDA-PBC, why is it useful & what are limitations?
Problem Setup: Dynamics & Constraints
Control: IDA-PBC Procedure
Control: Integrator Anti-Windup Compensator
Control: DT-Implementation
Symbolic Analysis using MuPAD
Two Tank Process
Four Tank Process
Conclusions

## Slide 3: What is IDA-PBC, why is it useful & what are limitations?
Interconnection damping assignment passivity-based control (IDA-PBC)
  Ortega et. all 2002, Ramirez et. all 2009, Johnsen & Allgower 2007.
Why is it useful?
  Allows for low-complexity automated controller design for certain classes of underactuated and nonminimum-phase systems.
  Results in explicit gain limits which can be enforced at run-time in order to restrict the operator interface to prevent entry of potentially destabilizing controller gain values.
  Can explicitly determine feasible set-point constraints to in order to avoid potentially uncontrollable operating conditions.
  Allows for integrators to be introduced in order to compensate for model uncertainty and actuator degradation.
Limitations
  Anti-windup control needs further study, we present a preliminary solution which relies on a linear systems assumptions; however, our solution works reasonably well for control of coupled-tank processes.
  Theory is based on continuous-time controller assumptions, we used bilinear-transform to approximate integrators in order to achieve reasonably low sampling rates.
  Assertions were made by Johnsen & Allgower that techniques could be applied to nonminimum phase systems; however, their controller constraints for a nonminimum four tank system were incorrect.

## Slide 4: Problem Setup: Dynamics
Variable | Domain | Description
 |  | System state trajectory
 |  | Desired state trajectory
 |  | Controllable subset of desired states
 |  | Integrator states
 |  | Feedback control input
Use IDA-PBC for nonlinear dynamics systems with input-affine dynamics and extended with integrator states as shown here

## Slide 5: Problem Setup: Constraints
Final control law will have this form, where is the final Hamiltonian.
The goal is to find β to get the form shown above, and satisfy the constraints. This implies that at steady state, the following two conditions hold:

## Slide 6: Control: IDA-PBC Procedure
1. Augment the state-space description with p additional integrators
2. Choose a candidate Hamiltonian H which depends on additional scaling terms such that
is a constant matrix.

## Slide 7: Control: IDA-PBC Procedure
3. Find conditions on the coefficients ki and kI to render Qd negative definite. There are multiple ways to satisfy this. We apply Sylvester’s criterion on the negative Hermitian of Qd :
4. Find a matrix P satisfying the following conditions:

## Slide 8: Control: IDA-PBC Procedure
5. Solve for the desired Hamiltonian Hd and pos. def. symmetric matrix Q using the following form:
We use the gradient and Hessian constraints to solve for l , and to find expressions for the uncontrollable parts of x* .

## Slide 9: Control: IDA-PBC Procedure
6. Determine the control law:
Because P was normalized such that g†Qd P = -I, the control law can be simplified down to the following form:

## Slide 10: Control: Integrator Anti-Windup Compensator

## Slide 11: Control: DT-Implementation
Discrete-time implementation of the full controller with anti-windup:

## Slide 12: Symbolic Analysis using MuPAD
Create a matrix Qd with symbolic variable entries. Create an expression for the determinant of each leading principal submatrix |–He{Qd}k| for k=1…n+p. Use solve() to find the control coefficient bounds subject to the constraints |–He{Qd}k|>0.
Finding the matrix P requires several steps:
  Use linalg::nullspace() with g(x)T, then concatenate the resulting vectors to find g(x).
  Compute g† using the Moore-Penrose left pseudoinverse g†(x)=(g(x)Tg(x))-1g(x)T .
  Form g(x)Qd and g†(x)Qd . Use linalg::nullspace() to get Pnull (as above), and then P=-Pnull(g†(x)Qd Pnull)-1 .

## Slide 13: Two Tank Process
Johnsen & Allgower 2007

## Slide 14: Two Tank Process
Two tank dynamics
Hamiltonian

## Slide 15: Two Tank Process
Constant matrix
Coefficient bounds
Control terms

## Slide 16: Two Tank Process Step Response

## Slide 17: Two Tank Process Step Response

## Slide 18: Four Tank Process
Johansson 2000

## Slide 19: Four Tank Process
Dynamics

## Slide 20: Four Tank Process
Hamiltonian
Constant matrix
Johnsen & Allgower 2007

## Slide 21: Four Tank Process
Coefficient bounds
Control terms

## Slide 22: Four Tank Process
Set point constraints for minimum-phase system
Set point constraints for nonminimum-phase system

## Slide 23: Four Tank Process Step Response (min-phase)

## Slide 24: Four Tank Process Step Response (min-phase)

## Slide 25: Four Tank Process Step Response (nonmin-phase)

## Slide 26: Four Tank Process Step Response (nonmin-phase)

## Slide 27: Conclusions
Once correct constraints for the control gains for the control of the nonminimum phase system were determined the IDA-PBC was superior to the decentralized controller option.
We provided a feasible integrator antiwindup compensator to improve system resilience for the two-tank and four-tank systems studied.
The explicit solution for control trajectories under ideal model conditions can provide both visual feedback to the operator indicating drifts from these ideal conditions and can be potentially used to determine system faults.
The four tank process appears to be sufficiently rich to integrate with various digital control infrastructures in order to evaluate various red-team/ blue-team scenarios.
Further work needs to be taken to address integrator antiwindup compensator for nonlinear systems and to attempt more explicit guarantees for discrete-time control systems which rely on IDA-PBC techniques.